## Display by assessment type
(Prepared in August 2018)
GMP Data "SYSTEM" Inventory
Specialized items according to DI Items Focused on, as per DI
Equipment/system category | [7 empty] | Risk assessment
Equipment/system name | Vendor name | Device model number | ID number | Number of years of use | Frequency of calibration | Assessment type | Related SOPs | Control of output data (Not subject to scoring. Controlled so that all become Y) (The items below are not subject to scoring; all of these should be Y through appropriate control.) |  |  |  |  | Frequency of use (Number of tests, number of lots, operation rate) | Data criticality | Presence or absence Availability of audit trail function (Yes/No) | Data backup | Can data be deleted or changed? | Setting of access authority | Login ID/password, electronic signature | Device/system complexity (Ease Difficulty of operation) | Importance of the product used (Impacts on patients, availability of replacement alternative products, sales amount) | Presence or absence Availability of alternative equipment/facility | Replacement cost | Standalone or network system? | Scoring | Tracking (ID ofCAPA, etc.)
[8 empty] | Yes or No A: Who performed it and when? Are the person who performed the task and the date when it was done specified? | Yes or No L: Indelible ink, non-heat-sensitive paper Are the data/documents prepared with indelible ink and on non-heat paper? | Yes or No C: Are records output simultaneously contemporaneously? or are Are they in chronological order? | Yes or No O: Are original data (receipts, etc.) retained? | Yes or No A: Is 2nd review done for of records? | Number of outputs (data): Year Annual XXXX :5 Year Annual YY : 3 Year Annual ZZ : 1 | Tests on approved specifications test: 5 Other GMP tests: 3 Non-GMP studies tests: 1 | No: 5 Yes but OFF : 3 Yes and ON : 1 | No capability Unable to perform: 5 Yes, but unable to read: 3 Regularly performed and readable: 1 | Yes. Can be deleted/changed: 5 No: 1 | Not set: 5 Only one authority: 3 Can be set at each level: 1 | No: 5 Shared: 3 Set individually for each person: 1 | High<HPLC/GC>:5 Medium<UV/IR>: 3 Low<KF/pH>:1 | Availability of replacement alternative products No Alternative drug not available, orphan drug, share not less than XX%: 5 No Gx, share YY% : 3 Others: 1 | No: 5 Fewer than X units/facilities or less: 3 X or more units/facilities: 1 | XXXX 0,000 yen: 5 YYY0,000 yen: 3 ZZ0,000 yen: 1 | Standalone: 5 Server: 3 Linked to main system: 1
UPLC system (for use in development) | [5 empty] | Group 1
Clean bench | [5 empty] | Group 2
Disintegration tester | [5 empty] | Group 2
Dissolution tester | [5 empty] | Group 2
Vacuum dryer | [5 empty] | Group 2
Shaker | - | - |  |  |  | Group 2
Balance (with printer) | [5 empty] | Group 3
pH meter | [5 empty] | Group 3
Automatic potentiometric titrator | [5 empty] | Group 3
Spectrophotometer (without data maintenance capabilities) | [5 empty] | Group 3
Spectrophotometer (with data maintenance capabilities) | [5 empty] | Group 4
FTIR spectrophotometer | [5 empty] | Group 4
HPLC system | [5 empty] | Group 4
HPLC system (standalone) | [5 empty] | Group 4
KF moisture meter (with data maintenance capabilities) | [5 empty] | Group 4
Temperature logger | [5 empty] | Group 4
(Entry example)
Balance (with printer) | [5 empty] | Group 3 |  | Y | N | Y | Y | Y
HPLC system | [5 empty] | Group 4 |  | Y | Y | Y | Y | Y | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 3 | 3 | 5 | 1 | 1